## 4.1.4
4.1.4 Year ahead load forecast - average MWh/h on peak and off-peak hours for each month of the year
year: | 2012
bidding zone | peak/off peak | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE | JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER
NORD | peak | 24600 | 25000 | 24000 | 22300 | 22700 | 23900 | 25200 | 19600 | 23700 | 23800 | 24400 | 24100
CNOR | peak | 4700 | 4750 | 4600 | 4300 | 4300 | 4500 | 4750 | 3900 | 4500 | 4550 | 4700 | 4650
CSUD | peak | 6950 | 6900 | 6500 | 5900 | 6100 | 6650 | 7100 | 6200 | 6550 | 6100 | 6450 | 6550
SUD | peak | 3550 | 3450 | 3400 | 3150 | 2900 | 3200 | 3550 | 3350 | 3150 | 2900 | 3300 | 3450
SICI | peak | 2650 | 2600 | 2500 | 2200 | 2150 | 2350 | 2700 | 2600 | 2500 | 2200 | 2300 | 2500
SARD | peak | 1450 | 1450 | 1400 | 1250 | 1250 | 1350 | 1450 | 1400 | 1350 | 1250 | 1300 | 1350
NORD | off peak | 15900 | 16800 | 16400 | 15000 | 15500 | 16300 | 17500 | 14300 | 16600 | 16000 | 16200 | 16400
CNOR | off peak | 3100 | 3150 | 3150 | 3000 | 3050 | 3250 | 3350 | 2950 | 3250 | 3150 | 3150 | 3150
CSUD | off peak | 4850 | 4850 | 4750 | 4500 | 4550 | 4950 | 5250 | 4800 | 4900 | 4500 | 4700 | 4800
SUD | off peak | 2700 | 2650 | 2650 | 2550 | 2450 | 2650 | 3000 | 2900 | 2800 | 2500 | 2550 | 2750
SICI | off peak | 2050 | 2050 | 1950 | 1850 | 1800 | 1900 | 2250 | 2200 | 2100 | 1850 | 1850 | 1950
SARD | off peak | 1200 | 1200 | 1150 | 1100 | 1100 | 1200 | 1250 | 1250 | 1200 | 1150 | 1150 | 1200
Remarks: 1. applied definition of load: electricity demand on the national interconnected power system including consumption by final customers, but not including consumption by pumped-storage plants, industrial load self sustained by integrated power plants, and exports. 2. load is 0 MW for market zones of type "pole of limited production" (MFTV,FOGN,BRNN,ROSN,PRGP) and "neighbour country's virtual" (AUST,BSP,CORS,COAC,FRAN,GREC,SLOV,SVIZ). 3. peak hours: hours 7-22 of each working day (monday-friday)