## 4.1.4
4.1.4 Year ahead load forecast - average MWh/h on peak and off-peak hours for each month of the year
year: | 2017
bidding zone | peak/off peak | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE | JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER
NORD | peak | 23300 | 23470 | 22250 | 19980 | 20870 | 22680 | 24370 | 18110 | 22210 | 21670 | 23620 | 22290
CNOR | peak | 4370 | 4330 | 4210 | 3780 | 3990 | 4170 | 4690 | 3650 | 4110 | 4080 | 4340 | 4280
CSUD | peak | 6620 | 6630 | 6340 | 5660 | 5600 | 6210 | 6900 | 5720 | 6070 | 5690 | 6170 | 6430
SUD | peak | 3300 | 3290 | 3100 | 2790 | 2770 | 3080 | 3720 | 3330 | 3100 | 2890 | 3050 | 3290
SICI | peak | 1090 | 1090 | 1080 | 1010 | 990 | 1020 | 1130 | 1140 | 1110 | 1030 | 1030 | 1060
SARD | peak | 2410 | 2390 | 2250 | 2030 | 2080 | 2280 | 2690 | 2570 | 2380 | 2140 | 2210 | 2330
NORD | off peak | 14270 | 15010 | 14520 | 13100 | 13800 | 15500 | 17170 | 13160 | 15050 | 14600 | 14660 | 13950
CNOR | off peak | 2810 | 2890 | 2900 | 2680 | 2800 | 2940 | 3370 | 2740 | 2920 | 2910 | 2810 | 2760
CSUD | off peak | 4530 | 4600 | 4380 | 4160 | 4100 | 4490 | 5100 | 4420 | 4410 | 4300 | 4320 | 4500
SUD | off peak | 2450 | 2410 | 2280 | 2270 | 2280 | 2480 | 3000 | 2680 | 2450 | 2300 | 2280 | 2430
SICI | off peak | 850 | 850 | 850 | 870 | 850 | 870 | 960 | 990 | 930 | 870 | 840 | 860
SARD | off peak | 1790 | 1790 | 1690 | 1630 | 1670 | 1790 | 2170 | 2090 | 1910 | 1770 | 1690 | 1800
Remarks: 1. applied definition of load: electricity demand on the national interconnected power system including consumption by final customers, but not including consumption by pumped-storage plants, industrial load self sustained by integrated power plants, and exports. 2. load is 0 MW for market zones of type "pole of limited production" (FOGN,BRNN,ROSN,PRGP) and "neighbour country's virtual" (AUST,BSP,CORS,COAC,FRAN,GREC,SLOV,SVIZ). 3. peak hours: hours 7-22 of each working day (monday-friday)