## 4.1.3
4.1.3 Month ahead load forecast - average MWh/h on peak and off-peak hours for each week of the month
month: | March 2017
|  | 2017-03-01 | 2017-03-06 | 2017-03-13 | 2017-03-20 | 2017-03-27
|  | ↓ | ↓ | ↓ | ↓ | ↓
bidding zone | peak/off peak | 2017-03-05 | 2017-03-12 | 2017-03-19 | 2017-03-26 | 2017-03-31
NORD | peak | 22232.8608 | 22464.8096 | 21697.8983 | 21599.5849 | 22285.646
CNOR | peak | 4150.0805 | 4259.4091 | 4096.6027 | 4129.6726 | 4235.2307
CSUD | peak | 6318.4495 | 6520.9819 | 6175.129 | 6256.3271 | 6135.2328
SUD | peak | 3082.7975 | 3122.5846 | 3040.6829 | 3108.0186 | 3006.453
SICI | peak | 2285.367 | 2278.7499 | 2239.1853 | 2247.3379 | 2090.6169
SARD | peak | 1072.481 | 1098.1988 | 1066.8789 | 1081.1196 | 1056.5438
NORD | off peak | 14661.0208 | 14547.3498 | 14171.0934 | 14110.2331 | 14596.1229
CNOR | off peak | 2919.3131 | 2931.4299 | 2828.0016 | 2828.2348 | 2884.3063
CSUD | off peak | 4438.9105 | 4443.8459 | 4295.4288 | 4302.1774 | 4162.491
SUD | off peak | 2314.6807 | 2335.1411 | 2232.6321 | 2245.8963 | 2146.7897
SICI | off peak | 1728.039 | 1715.1693 | 1678.9788 | 1659.7454 | 1564.4656
SARD | off peak | 856.1854 | 850.8663 | 851.1289 | 848.0462 | 815.3212
Remarks: 1. applied definition of load: electricity demand on the national interconnected power system including consumption by final customers, but not including consumption by pumped-storage plants, industrial load self sustained by integrated power plants, and exports. 2. load is 0 MW for market zones of type "pole of limited production" (FOGN,BRNN,ROSN,PRGP) and "neighbour country's virtual" (AUST,BSP,CORS,COAC,FRAN,GREC,SLOV,SVIZ). 3. peak hours: hours 7-22 of each working day (monday-friday)