## 4.1.4
4.1.4 Year ahead load forecast - average MWh/h on peak and off-peak hours for each month of the year
year: | 2018
bidding zone | peak/off peak | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE | JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER
NORD | peak | 23000 | 23990 | 22560 | 19750 | 21260 | 22090 | 23280 | 20220 | 21790 | 22010 | 22500 | 21670
CNOR | peak | 4470 | 4630 | 4470 | 3870 | 4020 | 4140 | 4450 | 3870 | 4050 | 4140 | 4210 | 4150
CSUD | peak | 6430 | 6750 | 6330 | 5420 | 5600 | 6060 | 6530 | 5840 | 5900 | 5740 | 5980 | 6050
SUD | peak | 3360 | 3450 | 3090 | 2730 | 2730 | 3010 | 3350 | 3040 | 3060 | 2910 | 3050 | 3180
SICI | peak | 2440 | 2560 | 2390 | 1990 | 2050 | 2240 | 2470 | 2360 | 2260 | 2160 | 2130 | 2290
SARD | peak | 1120 | 1190 | 1130 | 990 | 980 | 1060 | 1150 | 1120 | 1060 | 980 | 1020 | 1050
NORD | off peak | 14550 | 15040 | 14970 | 13830 | 14700 | 15610 | 16530 | 14640 | 14580 | 14430 | 14720 | 14650
CNOR | off peak | 3000 | 3120 | 3140 | 2870 | 2940 | 3010 | 3180 | 2830 | 2830 | 2840 | 2900 | 2920
CSUD | off peak | 4340 | 4550 | 4490 | 4080 | 4090 | 4390 | 4810 | 4410 | 4320 | 4120 | 4230 | 4340
SUD | off peak | 2430 | 2480 | 2370 | 2240 | 2210 | 2400 | 2640 | 2450 | 2420 | 2250 | 2310 | 2390
SICI | off peak | 1810 | 1890 | 1840 | 1650 | 1650 | 1780 | 1970 | 1950 | 1820 | 1710 | 1650 | 1760
SARD | off peak | 870 | 910 | 920 | 860 | 840 | 890 | 960 | 960 | 900 | 820 | 830 | 850
Remarks: 1. applied definition of load: electricity demand on the national interconnected power system including consumption by final customers, but not including consumption by pumped-storage plants, industrial load self sustained by integrated power plants, and exports. 2. load is 0 MW for market zones of type "pole of limited production" (FOGN,BRNN,ROSN,PRGP) and "neighbour country's virtual" (AUST,BSP,CORS,COAC,FRAN,GREC,SLOV,SVIZ). 3. peak hours: hours 7-22 of each working day (monday-friday)