## 4.1.3
4.1.3 Month ahead load forecast - average MWh/h on peak and off-peak hours for each week of the month
month: | July 2019
|  | 2019-07-01 | 2019-07-08 | 2019-07-15 | 2019-07-22 | 2019-07-29
|  | ↓ | ↓ | ↓ | ↓ | ↓
bidding zone | peak/off peak | 2019-07-07 | 2019-07-14 | 2019-07-21 | 2019-07-28 | 2019-07-31
NORD | peak | 22774.4781 | 23534.566 | 22886.2928 | 22966.7184 | 22192.2024
CNOR | peak | 4291.7188 | 4511.3386 | 4335.311 | 4407.7212 | 4265.4615
CSUD | peak | 6238.6085 | 6500.3231 | 6439.3916 | 6481.0145 | 6141.8526
SUD | peak | 3152.6825 | 3230.3029 | 3366.4097 | 3423.6315 | 3222.6044
SICI | peak | 2380.9448 | 2418.7212 | 2433.8468 | 2529.383 | 2419.316
SARD | peak | 1104.1044 | 1141.2358 | 1142.0183 | 1149.6294 | 1099.6029
NORD | off peak | 16642.091 | 17197.5133 | 16768.5858 | 16827.5129 | 17113.1169
CNOR | off peak | 3222.7336 | 3387.6503 | 3196.5569 | 3249.9472 | 3218.6493
CSUD | off peak | 4794.7331 | 4995.876 | 5046.8751 | 5079.497 | 4809.9696
SUD | off peak | 2676.3252 | 2742.2175 | 2818.2496 | 2866.1539 | 2817.9849
SICI | off peak | 1992.8395 | 2024.4581 | 2069.9442 | 2151.1961 | 2108.1254
SARD | off peak | 959.2569 | 991.5171 | 1006.1051 | 1012.8104 | 987.373
Remarks: 1. applied definition of load: electricity demand on the national interconnected power system including consumption by final customers, but not including consumption by pumped-storage plants, industrial load self sustained by integrated power plants, and exports. 2. load is 0 MW for market zones of type "pole of limited production" (FOGN,BRNN,ROSN,PRGP) and "neighbour country's virtual" (AUST,BSP,CORS,COAC,FRAN,GREC,SLOV,SVIZ). 3. peak hours: hours 7-22 of each working day (monday-friday)